## plc1
Nº | Description | SEC | SUB | DIS | DEV | IDX | PROP | IDX | TYPE | NAME | Aux RS Logic Name | RS Logic | Nota | Data Type | In/Out | Upper Limit | Lower Limit | EGU | TAG | Scan | Prec | PLC IP
1 | FC-614-01/02/03/04 pt100 input 1 | UA | 52CHall | AC | PT100 | FC61401 | Temperature |  | Mon | UA-52CHall:AC-PT100-FC61401:Temperature-Mon |  | TEAMB01_ST_614_01_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_01_1.val | .1 | 2 | 10.20.35.211
2 | FC-614-01/02/03/04 pt100 input 2 | UA | 54CHall | AC | PT100 | FC61401 | Temperature |  | Mon | UA-54CHall:AC-PT100-FC61401:Temperature-Mon |  | TEAMB02_ST_614_01_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_01_2.val | .1 | 2
3 | FC-614-01/02/03/04 pt100 input 3 | UA | 55CHall | AC | PT100 | FC61401 | Temperature |  | Mon | UA-55CHall:AC-PT100-FC61401:Temperature-Mon |  | TEAMB03_ST_614_01_3.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_01_3.val | .1 | 2
4 | FC-614-01/02/03/04 pt100 input 4 | UA | 56CHall | AC | PT100 | FC61401 | Temperature |  | Mon | UA-56CHall:AC-PT100-FC61401:Temperature-Mon |  | TEAMB04_ST_614_01_4.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_01_4.val | .1 | 2
5 | FC-614-01/02/03/04 pt100 input 5 | UA | 55EHall | AC | PT100 | FC61401 | Temperature | 1 | Mon | UA-55EHall:AC-PT100-FC61401:Temperature-1-Mon |  | TEAMB05_ST_614_01_5.val | Corrigir localização | Analog | Input |  |  | C | TEAMB05_ST_614_01_5.val | .1 | 2
6 | FC-614-01/02/03/04 pt100 input 6 | UA | 55EHall | AC | PT100 | FC61401 | Temperature | 2 | Mon | UA-55EHall:AC-PT100-FC61401:Temperature-2-Mon |  | TEAMB06_ST_614_01_6.val | Corrigir localização | Analog | Input |  |  | C | TEAMB06_ST_614_01_6.val | .1 | 2
7 | FC-614-01/02/03/04 pt100 input 7 | UA | 52DHall | AC | PT100 | FC61401 | Temperature |  | Mon | UA-52DHall:AC-PT100-FC61401:Temperature-Mon |  | TEAMB07_ST_614_01_7.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_01_7.val | .1 | 2
8 | FC-614-01/02/03/04 pt100 input 8 | UA | 55DHall | AC | PT100 | FC61401 | Temperature |  | Mon | UA-55DHall:AC-PT100-FC61401:Temperature-Mon |  | TEAMB08_ST_614_01_8.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_01_8.val | .1 | 2
9 | FC-614-01/02/03/04 média | UA | 52Hall58 | AC | PT100 | FC61401 | MeanTemperature |  | Mon | UA-52Hall58:AC-PT100-FC61401:MeanTemperature-Mon |  | TIC1_614_01_1.PV |  | Analog | Input |  |  | C | TIC1_614_01_1.PV | .1 | 2
10 | FC-614-42/43/44/45 input 1 | UA | 44CHall | AC | PT100 | FC61442 | Temperature |  | Mon | UA-44CHall:AC-PT100-FC61442:Temperature-Mon |  | TEAMB01_ST_614_18_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_18_1.val | .1 | 2
11 | FC-614-42/43/44/45 input 2 | UA | 43CHall | AC | PT100 | FC61442 | Temperature |  | Mon | UA-43CHall:AC-PT100-FC61442:Temperature-Mon |  | TEAMB02_ST_614_18_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_18_2.val | .1 | 2
12 | FC-614-42/43/44/45 input 3 | UA | 41CHall | AC | PT100 | FC61442 | Temperature |  | Mon | UA-41CHall:AC-PT100-FC61442:Temperature-Mon |  | TEAMB03_ST_614_18_3.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_18_3.val | .1 | 2
13 | FC-614-42/43/44/45 input 4 | UA | 40CHall | AC | PT100 | FC61442 | Temperature |  | Mon | UA-40CHall:AC-PT100-FC61442:Temperature-Mon |  | TEAMB04_ST_614_18_4.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_18_4.val | .1 | 2
14 | FC-614-42/43/44/45 input 5 | UA | 45EHall | AC | PT100 | FC61442 | Temperature | 1 | Mon | UA-45EHall:AC-PT100-FC61442:Temperature-1-Mon |  | TEAMB05_ST_614_18_5.val | Corrigir localização | Analog | Input |  |  | C | TEAMB05_ST_614_18_5.val | .1 | 2
15 | FC-614-42/43/44/45 input 6 | UA | 45EHall | AC | PT100 | FC61442 | Temperature | 2 | Mon | UA-45EHall:AC-PT100-FC61442:Temperature-2-Mon |  | TEAMB06_ST_614_18_6.val | Corrigir localização | Analog | Input |  |  | C | TEAMB06_ST_614_18_6.val | .1 | 2
16 | FC-614-42/43/44/45 input 7 | UA | 40DHall | AC | PT100 | FC61442 | Temperature |  | Mon | UA-40DHall:AC-PT100-FC61442:Temperature-Mon |  | TEAMB07_ST_614_18_7.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_18_7.val | .1 | 2
17 | FC-614-42/43/44/45 input 8 | UA | 43DHall | AC | PT100 | FC61442 | Temperature |  | Mon | UA-43DHall:AC-PT100-FC61442:Temperature-Mon |  | TEAMB08_ST_614_18_8.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_18_8.val | .1 | 2
18 | FC-614-42/43/44/45 média | UA | 40Hall46 | AC | PT101 | FC61442 | MeanTemperature |  | Mon | UA-40Hall46:AC-PT101-FC61442:MeanTemperature-Mon |  | TIC1_614_18_1.PV |  | Analog | Input |  |  | C | TIC1_614_18_1.PV | .1 | 2
19 | FC-614-47/48/49/50 pt100 input 1 | UA | 51CHall | AC | PT100 | FC61447 | Temperature |  | Mon | UA-51CHall:AC-PT100-FC61447:Temperature-Mon |  | TEAMB01_ST_614_20_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_20_1.val | .1 | 2
20 | FC-614-47/48/49/50 pt100 input 2 | UA | 49CHall | AC | PT100 | FC61447 | Temperature |  | Mon | UA-49CHall:AC-PT100-FC61447:Temperature-Mon |  | TEAMB02_ST_614_20_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_20_2.val | .1 | 2
21 | FC-614-47/48/49/50 pt100 input 3 | UA | 47CHall | AC | PT100 | FC61447 | Temperature |  | Mon | UA-47CHall:AC-PT100-FC61447:Temperature-Mon |  | TEAMB03_ST_614_20_3.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_20_3.val | .1 | 2
22 | FC-614-47/48/49/50 pt100 input 4 | UA | 46CHall | AC | PT100 | FC61447 | Temperature |  | Mon | UA-46CHall:AC-PT100-FC61447:Temperature-Mon |  | TEAMB04_ST_614_20_4.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_20_4.val | .1 | 2
23 | FC-614-47/48/49/50 pt100 input 5 | UA | 45EHall | AC | PT100 | FC61447 | Temperature | 1 | Mon | UA-45EHall:AC-PT100-FC61447:Temperature-1-Mon |  | TEAMB05_ST_614_20_5.val | Corrigir localização | Analog | Input |  |  | C | TEAMB05_ST_614_20_5.val | .1 | 2
24 | FC-614-47/48/49/50 pt100 input 6 | UA | 45EHall | AC | PT100 | FC61447 | Temperature | 2 | Mon | UA-45EHall:AC-PT100-FC61447:Temperature-2-Mon |  | TEAMB06_ST_614_20_6.val | Corrigir localização | Analog | Input |  |  | C | TEAMB06_ST_614_20_6.val | .1 | 2
25 | FC-614-47/48/49/50 pt100 input 7 | UA | 46DHall | AC | PT100 | FC61447 | Temperature |  | Mon | UA-46DHall:AC-PT100-FC61447:Temperature-Mon |  | TEAMB07_ST_614_20_7.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_20_7.val | .1 | 2
26 | FC-614-47/48/49/50 pt100 input 8 | UA | 49DHall | AC | PT100 | FC61447 | Temperature |  | Mon | UA-49DHall:AC-PT100-FC61447:Temperature-Mon |  | TEAMB08_ST_614_20_8.val | Inibido - mau contato | Analog | Input |  |  | C | TEAMB08_ST_614_20_8.val | .1 | 2
27 | FC-614-47/48/49/50 média | UA | 46Hall52 | AC | PT100 | FC61447 | MeanTemperature |  | Mon | UA-46Hall52:AC-PT100-FC61447:MeanTemperature-Mon |  | TIC1_614_20_1.PV |  | Analog | Input |  |  | C | TIC1_614_20_1.PV | .1 | 2
41 | ST-614-17.01 | TU | 39IW | AC | PT100 |  | Temperature |  | Mon | TU-39IW:AC-PT100:Temperature-Mon | TEAMB01 | TEAMB01_ST_614_17_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_17_1.val | .1 | 2
42 | ST-614-17.02 | TU | 40EW | AC | PT100 |  | Temperature |  | Mon | TU-40EW:AC-PT100:Temperature-Mon | TEAMB02 | TEAMB02_ST_614_17_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_17_2.val | .1 | 2
43 | ST-614-17.04 | TU | 41IW | AC | PT100 |  | Temperature |  | Mon | TU-41IW:AC-PT100:Temperature-Mon | TEAMB03 | TEAMB03_ST_614_17_4.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_17_4.val | .1 | 2
44 | ST-614-17.05 | TU | 41EW | AC | PT100 |  | Temperature |  | Mon | TU-41EW:AC-PT100:Temperature-Mon | TEAMB04 | TEAMB04_ST_614_17_5.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_17_5.val | .1 | 2
45 | ST-614-17.07 | TU | 42IW | AC | PT100 |  | Temperature |  | Mon | TU-42IW:AC-PT100:Temperature-Mon | TEAMB05 | TEAMB05_ST_614_17_7.val |  | Analog | Input |  |  | C | TEAMB05_ST_614_17_7.val | .1 | 2
46 | ST-614-17.08 | TU | 43EW | AC | PT100 |  | Temperature |  | Mon | TU-43EW:AC-PT100:Temperature-Mon | TEAMB06 | TEAMB06_ST_614_17_8.val |  | Analog | Input |  |  | C | TEAMB06_ST_614_17_8.val | .1 | 2
47 | ST-614-17.09 | TU | 44IW | AC | PT100 |  | Temperature |  | Mon | TU-44IW:AC-PT100:Temperature-Mon | TEAMB07 | TEAMB07_ST_614_17_9.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_17_9.val | .1 | 2
48 | ST-614-17.10 | TU | 44EW | AC | PT100 |  | Temperature |  | Mon | TU-44EW:AC-PT100:Temperature-Mon | TEAMB08 | TEAMB08_ST_614_17_10.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_17_10.val | .1 | 2
| ST-614-17 média | TU | 3944 | AC | PT101 |  | MeanTemperature |  | Mon | TU-3944:AC-PT101:MeanTemperature-Mon |  | MEDIA_TEAMB_ST_614_17.val |  | Analog | Input |  |  | C | MEDIA_TEAMB_ST_614_17.val | .1 | 2
49 | ST-614-19.01 | TU | 45IW | AC | PT100 |  | Temperature |  | Mon | TU-45IW:AC-PT100:Temperature-Mon | TEAMB01 | TEAMB01_ST_614_19_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_19_1.val | .1 | 2
50 | ST-614-19.02 | TU | 46EW | AC | PT100 |  | Temperature |  | Mon | TU-46EW:AC-PT100:Temperature-Mon | TEAMB02 | TEAMB02_ST_614_19_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_19_2.val | .1 | 2
51 | ST-614-19.04 | TU | 47IW | AC | PT100 |  | Temperature |  | Mon | TU-47IW:AC-PT100:Temperature-Mon | TEAMB03 | TEAMB03_ST_614_19_4.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_19_4.val | .1 | 2
52 | ST-614-19.05 | TU | 47EW | AC | PT100 |  | Temperature |  | Mon | TU-47EW:AC-PT100:Temperature-Mon | TEAMB04 | TEAMB04_ST_614_19_5.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_19_5.val | .1 | 2
53 | ST-614-19.07 | TU | 48IW | AC | PT100 |  | Temperature |  | Mon | TU-48IW:AC-PT100:Temperature-Mon | TEAMB05 | TEAMB05_ST_614_19_7.val |  | Analog | Input |  |  | C | TEAMB05_ST_614_19_7.val | .1 | 2
54 | ST-614-19.08 | TU | 49EW | AC | PT100 |  | Temperature |  | Mon | TU-49EW:AC-PT100:Temperature-Mon | TEAMB06 | TEAMB06_ST_614_19_8.val |  | Analog | Input |  |  | C | TEAMB06_ST_614_19_8.val | .1 | 2
55 | ST-614-19.09 | TU | 50IW | AC | PT100 |  | Temperature |  | Mon | TU-50IW:AC-PT100:Temperature-Mon | TEAMB07 | TEAMB07_ST_614_19_9.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_19_9.val | .1 | 2
56 | ST-614-19.10 | TU | 50EW | AC | PT100 |  | Temperature |  | Mon | TU-50EW:AC-PT100:Temperature-Mon | TEAMB08 | TEAMB08_ST_614_19_10.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_19_10.val | .1 | 2
| ST-614-19 média | TU | 4550 | AC | PT100 |  | MeanTemperature |  | Mon | TU-4550:AC-PT100:MeanTemperature-Mon |  | MEDIA_TEAMB_ST_614_19.val |  | Analog | Input |  |  | C | MEDIA_TEAMB_ST_614_19.val | .1 | 2
57 | ST-614-02.01 | TU | 51IW | AC | PT100 |  | Temperature |  | Mon | TU-51IW:AC-PT100:Temperature-Mon | TEAMB01 | TEAMB01_ST_614_02_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_02_1.val | .1 | 2
58 | ST-614-02.02 | TU | 52EW | AC | PT100 |  | Temperature |  | Mon | TU-52EW:AC-PT100:Temperature-Mon | TEAMB02 | TEAMB02_ST_614_02_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_02_2.val | .1 | 2
59 | ST-614-02.04 | TU | 53IW | AC | PT100 |  | Temperature |  | Mon | TU-53IW:AC-PT100:Temperature-Mon | TEAMB03 | TEAMB03_ST_614_02_4.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_02_4.val | .1 | 2
60 | ST-614-02.05 | TU | 53EW | AC | PT100 |  | Temperature |  | Mon | TU-53EW:AC-PT100:Temperature-Mon | TEAMB04 | TEAMB04_ST_614_02_5.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_02_5.val | .1 | 2
61 | ST-614-02.07 | TU | 54IW | AC | PT100 |  | Temperature |  | Mon | TU-54IW:AC-PT100:Temperature-Mon | TEAMB05 | TEAMB05_ST_614_02_7.val |  | Analog | Input |  |  | C | TEAMB05_ST_614_02_7.val | .1 | 2
62 | ST-614-02.08 | TU | 55EW | AC | PT100 |  | Temperature |  | Mon | TU-55EW:AC-PT100:Temperature-Mon | TEAMB06 | TEAMB06_ST_614_02_8.val |  | Analog | Input |  |  | C | TEAMB06_ST_614_02_8.val | .1 | 2
63 | ST-614-02.09 | TU | 56IW | AC | PT100 |  | Temperature |  | Mon | TU-56IW:AC-PT100:Temperature-Mon | TEAMB07 | TEAMB07_ST_614_02_9.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_02_9.val | .1 | 2
64 | ST-614-02.10 | TU | 56EW | AC | PT100 |  | Temperature |  | Mon | TU-56EW:AC-PT100:Temperature-Mon | TEAMB08 | TEAMB08_ST_614_02_10.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_02_10.val | .1 | 2
| ST-614-02 média | TU | 5156 | AC | PT101 |  | MeanTemperature |  | Mon | TU-5156:AC-PT101:MeanTemperature-Mon |  | MEDIA_TEAMB_ST_614_02.val |  | Analog | Input |  |  | C | MEDIA_TEAMB_ST_614_02.val | .1 | 2

## plc2
Nº | Description | SEC | SUB | DIS | DEV | IDX | PROP | IDX | TYPE |  | NAME | RS Logic | Nota | Data Type | In/Out | Upper Limit | Lower Limit | EGU | TAG | Scan | Prec | PLC IP
1 | FC-614-06/07/08/09 pt100 input 1 | UA | 58CHall | AC | PT100 | FC61406 | Temperature |  | Mon |  | UA-58CHall:AC-PT100-FC61406:Temperature-Mon | TEAMB01_ST_614_03_1.val | Inibido - mau contato | Analog | Input |  |  | C | TEAMB01_ST_614_03_1.val | .1 | 2 | 10.20.35.221
2 | FC-614-06/07/08/09 pt100 input 2 | UA | 60CHall | AC | PT100 | FC61406 | Temperature |  | Mon |  | UA-60CHall:AC-PT100-FC61406:Temperature-Mon | TEAMB02_ST_614_03_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_03_2.val | .1 | 2
3 | FC-614-06/07/08/09 pt100 input 3 | UA | 01CHall | AC | PT100 | FC61406 | Temperature |  | Mon |  | UA-01CHall:AC-PT100-FC61406:Temperature-Mon | TEAMB03_ST_614_03_3.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_03_3.val | .1 | 2
4 | FC-614-06/07/08/09 pt100 input 4 | UA | 02CHall | AC | PT100 | FC61406 | Temperature |  | Mon |  | UA-02CHall:AC-PT100-FC61406:Temperature-Mon | TEAMB04_ST_614_03_4.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_03_4.val | .1 | 2
5 | FC-614-06/07/08/09 pt100 input 5 | UA | 55EHall | AC | PT100 | FC61406 | Temperature | 1 | Mon |  | UA-55EHall:AC-PT100-FC61406:Temperature-1-Mon | TEAMB05_ST_614_03_5.val | Corrigir localização | Analog | Input |  |  | C | TEAMB05_ST_614_03_5.val | .1 | 2
6 | FC-614-06/07/08/09 pt100 input 6 | UA | 55EHall | AC | PT100 | FC61406 | Temperature | 2 | Mon |  | UA-55EHall:AC-PT100-FC61406:Temperature-2-Mon | TEAMB06_ST_614_03_6.val | Corrigir localização | Analog | Input |  |  | C | TEAMB06_ST_614_03_6.val | .1 | 2
7 | FC-614-06/07/08/09 pt100 input 7 | UA | 58DHall | AC | PT100 | FC61406 | Temperature |  | Mon |  | UA-58DHall:AC-PT100-FC61406:Temperature--Mon | TEAMB07_ST_614_03_7.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_03_7.val | .1 | 2
8 | FC-614-06/07/08/09 pt100 input 8 | UA | 01DHall | AC | PT100 | FC61406 | Temperature |  | Mon |  | UA-01DHall:AC-PT100-FC61406:Temperature--Mon | TEAMB08_ST_614_03_8.val | Inibido - BMS não lê | Analog | Input |  |  | C | TEAMB08_ST_614_03_8.val | .1 | 2
9 | FC-614-FC-614-06/07/08/09 média | UA | 58Hall04 | AC | PT100 | FC61406 | MeanTemperature |  | Mon |  | UA-58Hall04:AC-PT100-FC61406:MeanTemperature-Mon | TIC1_614_03_1.PV |  | Analog | Input |  |  | C | TIC1_614_03_1.PV | .1 | 2
10 | FC-614-11/12/13/14 pt100 input 1 | UA | 04CHall | AC | PT100 | FC61411 | Temperature |  | Mon |  | UA-04CHall:AC-PT100-FC61411:Temperature-Mon | TEAMB01_ST_614_05_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_05_1.val | .1 | 2
11 | FC-614-11/12/13/14 pt100 input 2 | UA | 05CHall | AC | PT100 | FC61411 | Temperature |  | Mon |  | UA-05CHall:AC-PT100-FC61411:Temperature-Mon | TEAMB02_ST_614_05_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_05_2.val | .1 | 2
12 | FC-614-11/12/13/14 pt100 input 3 | UA | 07CHall | AC | PT100 | FC61411 | Temperature |  | Mon |  | UA-07CHall:AC-PT100-FC61411:Temperature-Mon | TEAMB03_ST_614_05_3.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_05_3.val | .1 | 2
13 | FC-614-11/12/13/14 pt100 input 4 | UA | 08CHall | AC | PT100 | FC61411 | Temperature |  | Mon |  | UA-08CHall:AC-PT100-FC61411:Temperature-Mon | TEAMB04_ST_614_05_4.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_05_4.val | .1 | 2
14 | FC-614-11/12/13/14 pt100 input 5 | UA | 03EHall | AC | PT100 | FC61411 | Temperature | 1 | Mon |  | UA-03EHall:AC-PT100-FC61411:Temperature-1-Mon | TEAMB05_ST_614_05_5.val | Corrigir localização | Analog | Input |  |  | C | TEAMB05_ST_614_05_5.val | .1 | 2
15 | FC-614-11/12/13/14 pt100 input 6 | UA | 03EHall | AC | PT100 | FC61411 | Temperature | 2 | Mon |  | UA-03EHall:AC-PT100-FC61411:Temperature-2-Mon | TEAMB06_ST_614_05_6.val | Corrigir localização | Analog | Input |  |  | C | TEAMB06_ST_614_05_6.val | .1 | 2
16 | FC-614-11/12/13/14 pt100 input 7 | UA | 04DHall | AC | PT100 | FC61411 | Temperature |  | Mon |  | UA-04DHall:AC-PT100-FC61411:Temperature-Mon | TEAMB07_ST_614_05_7.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_05_7.val | .1 | 2
17 | FC-614-11/12/13/14 pt100 input 8 | UA | 07DHall | AC | PT100 | FC61411 | Temperature |  | Mon |  | UA-07DHall:AC-PT100-FC61411:Temperature-Mon | TEAMB08_ST_614_05_8.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_05_8.val | .1 | 2
18 | FC-614-11/12/13/14 média | UA | 04Hall10 | AC | PT100 | FC61411 | MeanTemperature |  | Mon |  | UA-04Hall10:AC-PT100-FC61411:MeanTemperature-Mon | TIC1_614_05_1.PV |  | Analog | Input |  |  | C | TIC1_614_05_1.PV | .1 | 2
19 | FC-614-16/17/18/19 pt100 input 1 | UA | 10BHall | AC | PT100 | FC61416 | Temperature |  | Mon |  | UA-10BHall:AC-PT100-FC61416:Temperature-Mon | TEAMB01_ST_614_07_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_07_1.val | .1 | 2
20 | FC-614-16/17/18/19 pt100 input 2 | UA | 11BHall | AC | PT100 | FC61416 | Temperature |  | Mon |  | UA-11BHall:AC-PT100-FC61416:Temperature-Mon | TEAMB02_ST_614_07_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_07_2.val | .1 | 2
21 | FC-614-16/17/18/19 pt100 input 3 | UA | 13BHall | AC | PT100 | FC61416 | Temperature |  | Mon |  | UA-13BHall:AC-PT100-FC61416:Temperature-Mon | TEAMB03_ST_614_07_3.val | Inibido - mau contato | Analog | Input |  |  | C | TEAMB03_ST_614_07_3.val | .1 | 2
22 | FC-614-16/17/18/19 pt100 input 4 | UA | 15BHall | AC | PT100 | FC61416 | Temperature |  | Mon |  | UA-15BHall:AC-PT100-FC61416:Temperature-Mon | TEAMB04_ST_614_07_4.val | Corrigir localização | Analog | Input |  |  | C | TEAMB04_ST_614_07_4.val | .1 | 2
23 | FC-614-16/17/18/19 pt100 input 5 | UA | 12EHall | AC | PT100 | FC61416 | Temperature | 1 | Mon |  | UA-12EHall:AC-PT100-FC61416:Temperature-1-Mon | TEAMB05_ST_614_07_5.val | Corrigir localização | Analog | Input |  |  | C | TEAMB05_ST_614_07_5.val | .1 | 2
24 | FC-614-16/17/18/19 pt100 input 6 | UA | 12EHall | AC | PT100 | FC61416 | Temperature | 2 | Mon |  | UA-12EHall:AC-PT100-FC61416:Temperature-2-Mon | TEAMB06_ST_614_07_6.val | Corrigir localização | Analog | Input |  |  | C | TEAMB06_ST_614_07_6.val | .1 | 2
25 | FC-614-16/17/18/19 pt100 input 7 | UA | 10DHall | AC | PT100 | FC61416 | Temperature |  | Mon |  | UA-10DHall:AC-PT100-FC61416:Temperature-Mon | TEAMB07_ST_614_07_7.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_07_7.val | .1 | 2
26 | FC-614-16/17/18/19 pt100 input 8 | UA | 13DHall | AC | PT100 | FC61416 | Temperature |  | Mon |  | UA-13DHall:AC-PT100-FC61416:Temperature-Mon | TEAMB08_ST_614_07_8.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_07_8.val | .1 | 2
27 | FC-614-16/17/18/19 média | UA | 10Hall16 | AC | PT100 | FC61416 | MeanTemperature |  | Mon |  | UA-10Hall16:AC-PT100-FC61416:MeanTemperature-Mon | TIC1_614_07_1.PV |  | Analog | Input |  |  | C | TIC1_614_07_1.PV | .1 | 2
28 | FC-614-21/22/23/24 pt100 input 1 | UA | 15CHall | AC | PT100 | FC61421 | Temperature |  | Mon |  | UA-15CHall:AC-PT100-FC61421:Temperature-Mon | TEAMB01_ST_614_09_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_09_1.val | .1 | 2
29 | FC-614-21/22/23/24 pt100 input 2 | UA | 17CHall | AC | PT100 | FC61421 | Temperature |  | Mon |  | UA-17CHall:AC-PT100-FC61421:Temperature-Mon | TEAMB02_ST_614_09_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_09_2.val | .1 | 2
30 | FC-614-21/22/23/24 pt100 input 3 | UA | 19CHall | AC | PT100 | FC61421 | Temperature |  | Mon |  | UA-19CHall:AC-PT100-FC61421:Temperature-Mon | TEAMB03_ST_614_09_3.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_09_3.val | .1 | 2
31 | FC-614-21/22/23/24 pt100 input 4 | UA | 20CHall | AC | PT100 | FC61421 | Temperature |  | Mon |  | UA-20CHall:AC-PT100-FC61421:Temperature-Mon | TEAMB04_ST_614_09_4.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_09_4.val | .1 | 2
32 | FC-614-21/22/23/24 pt100 input 5 | UA | 19EHall | AC | PT100 | FC61421 | Temperature | 1 | Mon |  | UA-19EHall:AC-PT100-FC61421:Temperature-1-Mon | TEAMB05_ST_614_09_5.val | Corrigir localização | Analog | Input |  |  | C | TEAMB05_ST_614_09_5.val | .1 | 2
33 | FC-614-21/22/23/24 pt100 input 6 | UA | 19EHall | AC | PT100 | FC61421 | Temperature | 2 | Mon |  | UA-19EHall:AC-PT100-FC61421:Temperature-1-Mon | TEAMB06_ST_614_09_6.val | Corrigir localização | Analog | Input |  |  | C | TEAMB06_ST_614_09_6.val | .1 | 2
34 | FC-614-21/22/23/24 pt100 input 7 | UA | 16DHall | AC | PT100 | FC61421 | Temperature |  | Mon |  | UA-16DHall:AC-PT100-FC61421:Temperature-Mon | TEAMB07_ST_614_09_7.val | Inibido - cartão em falha & Corrigir localização | Analog | Input |  |  | C | TEAMB07_ST_614_09_7.val | .1 | 2
35 | FC-614-21/22/23/24 pt100 input 8 | UA | 19DHall | AC | PT100 | FC61421 | Temperature |  | Mon |  | UA-19DHall:AC-PT100-FC61421:Temperature-Mon | TEAMB08_ST_614_09_8.val | Inibido - cartão em falha & Corrigir localização | Analog | Input |  |  | C | TEAMB08_ST_614_09_8.val | .1 | 2
36 | FC-614-21/22/23/24 média | UA | 16Hall22 | AC | PT100 | FC61421 | MeanTemperature |  | Mon |  | UA-16Hall22:AC-PT100-FC61421:MeanTemperature-Mon | TIC1_614_09_1.PV |  | Analog | Input |  |  | C | TIC1_614_09_1.PV | .1 | 2
37 | ST-614-08.01 | TU | 09IW | AC | PT100 |  | Temperature |  | Mon | TEAMB01 | TU-09IW:AC-PT100:Temperature-Mon | TEAMB01_ST_614_08_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_08_1.val | .1 | 2
38 | ST-614-08.02 | TU | 10EW | AC | PT100 |  | Temperature |  | Mon | TEAMB02 | TU-10EW:AC-PT100:Temperature-Mon | TEAMB02_ST_614_08_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_08_2.val | .1 | 2
39 | ST-614-08.04 | TU | 11IW | AC | PT100 |  | Temperature |  | Mon | TEAMB03 | TU-11IW:AC-PT100:Temperature-Mon | TEAMB03_ST_614_08_4.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_08_4.val | .1 | 2
40 | ST-614-08.05 | TU | 11EW | AC | PT100 |  | Temperature |  | Mon | TEAMB04 | TU-11EW:AC-PT100:Temperature-Mon | TEAMB04_ST_614_08_5.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_08_5.val | .1 | 2
41 | ST-614-08.07 | TU | 12IW | AC | PT100 |  | Temperature |  | Mon | TEAMB05 | TU-12IW:AC-PT100:Temperature-Mon | TEAMB05_ST_614_08_7.val |  | Analog | Input |  |  | C | TEAMB05_ST_614_08_7.val | .1 | 2
42 | ST-614-08.08 | TU | 13EW | AC | PT100 |  | Temperature |  | Mon | TEAMB06 | TU-13EW:AC-PT100:Temperature-Mon | TEAMB06_ST_614_08_8.val |  | Analog | Input |  |  | C | TEAMB06_ST_614_08_8.val | .1 | 2
43 | ST-614-08.09 | TU | 14IW | AC | PT100 |  | Temperature |  | Mon | TEAMB07 | TU-14IW:AC-PT100:Temperature-Mon | TEAMB07_ST_614_08_9.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_08_9.val | .1 | 2
44 | ST-614-08.10 | TU | 14EW | AC | PT100 |  | Temperature |  | Mon | TEAMB08 | TU-14EW:AC-PT100:Temperature-Mon | TEAMB08_ST_614_08_10.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_08_10.val | .1 | 2
| ST-614-08 média | TU | 0914 | AC | PT100 |  | MeanTemperature |  | Mon |  | TU-0914:AC-PT100:MeanTemperature-Mon | MEDIA_TEAMB_ST_614_08.val |  | Analog | Input |  |  | C | MEDIA_TEAMB_ST_614_08.val | .1 | 2
45 | ST-614-10.01 | TU | 15EW | AC | PT100 |  | Temperature |  | Mon | TEAMB01 | TU-15EW:AC-PT100:Temperature-Mon | TEAMB01_ST_614_10_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_10_1.val | .1 | 2
46 | ST-614-10.02 | TU | 16IW | AC | PT100 |  | Temperature |  | Mon | TEAMB02 | TU-16IW:AC-PT100:Temperature-Mon | TEAMB02_ST_614_10_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_10_2.val | .1 | 2
47 | ST-614-10.04 | TU | 17IW | AC | PT100 |  | Temperature |  | Mon | TEAMB03 | TU-17IW:AC-PT100:Temperature-Mon | TEAMB03_ST_614_10_4.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_10_4.val | .1 | 2
48 | ST-614-10.05 | TU | 17EW | AC | PT100 |  | Temperature |  | Mon | TEAMB04 | TU-17EW:AC-PT100:Temperature-Mon | TEAMB04_ST_614_10_5.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_10_5.val | .1 | 2
49 | ST-614-10.07 | TU | 18IW | AC | PT100 |  | Temperature |  | Mon | TEAMB05 | TU-18IW:AC-PT100:Temperature-Mon | TEAMB05_ST_614_10_7.val |  | Analog | Input |  |  | C | TEAMB05_ST_614_10_7.val | .1 | 2
50 | ST-614-10.08 | TU | 19EW | AC | PT100 |  | Temperature |  | Mon | TEAMB06 | TU-19EW:AC-PT100:Temperature-Mon | TEAMB06_ST_614_10_8.val |  | Analog | Input |  |  | C | TEAMB06_ST_614_10_8.val | .1 | 2
51 | ST-614-10.09 | TU | 20IW | AC | PT100 |  | Temperature |  | Mon | TEAMB07 | TU-20IW:AC-PT100:Temperature-Mon | TEAMB07_ST_614_10_9.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_10_9.val | .1 | 2
52 | ST-614-10.10 | TU | 20EW | AC | PT100 |  | Temperature |  | Mon | TEAMB08 | TU-20EW:AC-PT100:Temperature-Mon | TEAMB08_ST_614_10_10.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_10_10.val | .1 | 2
| ST-614-10 média | TU | 1520 | AC | PT100 |  | MeanTemperature |  | Mon |  | TU-1520:AC-PT100:MeanTemperature-Mon | MEDIA_TEAMB_ST_614_10.val |  | Analog | Input |  |  | C | MEDIA_TEAMB_ST_614_10.val | .1 | 2
65 | ST-614-04.01 | TU | 57IW | AC | PT100 |  | Temperature |  | Mon | TEAMB01 | TU-57IW:AC-PT100:Temperature-Mon | TEAMB01_ST_614_04_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_04_1.val | .1 | 2
66 | ST-614-04.02 | TU | 58EW | AC | PT100 |  | Temperature |  | Mon | TEAMB02 | TU-58EW:AC-PT100:Temperature-Mon | TEAMB02_ST_614_04_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_04_2.val | .1 | 2
67 | ST-614-04.04 | TU | 59IW | AC | PT100 |  | Temperature |  | Mon | TEAMB03 | TU-59IW:AC-PT100:Temperature-Mon | TEAMB03_ST_614_04_4.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_04_4.val | .1 | 2
68 | ST-614-04.05 | TU | 59EW | AC | PT100 |  | Temperature |  | Mon | TEAMB04 | TU-59EW:AC-PT100:Temperature-Mon | TEAMB04_ST_614_04_5.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_04_5.val | .1 | 2
69 | ST-614-04.07 | TU | 60IW | AC | PT100 |  | Temperature |  | Mon | TEAMB05 | TU-60IW:AC-PT100:Temperature-Mon | TEAMB05_ST_614_04_7.val |  | Analog | Input |  |  | C | TEAMB05_ST_614_04_7.val | .1 | 2
70 | ST-614-04.08 | TU | 01EW | AC | PT100 |  | Temperature |  | Mon | TEAMB06 | TU-01EW:AC-PT100:Temperature-Mon | TEAMB06_ST_614_04_8.val |  | Analog | Input |  |  | C | TEAMB06_ST_614_04_8.val | .1 | 2
71 | ST-614-04.09 | TU | 02IW | AC | PT100 |  | Temperature |  | Mon | TEAMB07 | TU-02IW:AC-PT100:Temperature-Mon | TEAMB07_ST_614_04_9.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_04_9.val | .1 | 2
72 | ST-614-04.10 | TU | 02EW | AC | PT100 |  | Temperature |  | Mon | TEAMB08 | TU-02EW:AC-PT100:Temperature-Mon | TEAMB08_ST_614_04_10.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_04_10.val | .1 | 2
| ST-614-04 média | TU | 0160 | AC | PT100 |  | MeanTemperature |  | Mon |  | TU-0160:AC-PT100:MeanTemperature-Mon | MEDIA_TEAMB_ST_614_04.val |  | Analog | Input |  |  | C | MEDIA_TEAMB_ST_614_04.val | .2 | 2
73 | ST-614-06.01 | TU | 03IW | AC | PT100 |  | Temperature |  | Mon | TEAMB01 | TU-03IW:AC-PT100:Temperature-Mon | TEAMB01_ST_614_06_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_06_1.val | .1 | 2
74 | ST-614-06.02 | TU | 04EW | AC | PT100 |  | Temperature |  | Mon | TEAMB02 | TU-04EW:AC-PT100:Temperature-Mon | TEAMB02_ST_614_06_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_06_2.val | .1 | 2
75 | ST-614-06.04 | TU | 05IW | AC | PT100 |  | Temperature |  | Mon | TEAMB03 | TU-05IW:AC-PT100:Temperature-Mon | TEAMB03_ST_614_06_4.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_06_4.val | .1 | 2
76 | ST-614-06.05 | TU | 05EW | AC | PT100 |  | Temperature |  | Mon | TEAMB04 | TU-05EW:AC-PT100:Temperature-Mon | TEAMB04_ST_614_06_5.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_06_5.val | .1 | 2
77 | ST-614-06.07 | TU | 06IW | AC | PT100 |  | Temperature |  | Mon | TEAMB05 | TU-06IW:AC-PT100:Temperature-Mon | TEAMB05_ST_614_06_7.val |  | Analog | Input |  |  | C | TEAMB05_ST_614_06_7.val | .1 | 2
78 | ST-614-06.08 | TU | 07EW | AC | PT100 |  | Temperature |  | Mon | TEAMB06 | TU-07EW:AC-PT100:Temperature-Mon | TEAMB06_ST_614_06_8.val |  | Analog | Input |  |  | C | TEAMB06_ST_614_06_8.val | .1 | 2
79 | ST-614-06.09 | TU | 08IW | AC | PT100 |  | Temperature |  | Mon | TEAMB07 | TU-08IW:AC-PT100:Temperature-Mon | TEAMB07_ST_614_06_9.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_06_9.val | .1 | 2
80 | ST-614-06.10 | TU | 08EW | AC | PT100 |  | Temperature |  | Mon | TEAMB08 | TU-08EW:AC-PT100:Temperature-Mon | TEAMB08_ST_614_06_06.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_06_06.val | .1 | 2
| ST-614-06 média | TU | 0308 | AC | PT100 |  | MeanTemperature |  | Mon |  | TU-0308:AC-PT100:MeanTemperature-Mon | MEDIA_TEAMB_ST_614_06.val |  | Analog | Input |  |  | C | MEDIA_TEAMB_ST_614_06.val | .1 | 2
Note on L7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Pessoal, neste caso aqui, não podemos usar o hífen dentro do nome da propriedade, teria que ser UA-58DHall:AC-PT100-FC61406:Temperature1-Mon. Idem para os outros casos semelhantes. Reply: De maneira mais clara, chamei de propriedade aqui, a última parte após o último ":", ou seja, "Temperature-1-Mon", que deve ser mudado para "Temperature1-Mon"

## plc3
Nº | Description | SEC | SUB | DIS | DEV | IDX | PROP | IDX | TYPE | NAME |  | RS Logic | Nota | Data Type | In/Out | Upper Limit | Lower Limit | EGU | TAG | Scan | Prec | PLC IP
1 | FC-614-26/27/28/29 pt100 input 1 | UA | 22CHall | AC | PT100 | FC61426 | Temperature |  | Mon | UA-22CHall:AC-PT100-FC61426:Temperature-Mon |  | TEAMB01_ST_614_11_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_11_1.val | .1 | 2 | 10.20.35.231
2 | FC-614-26/27/28/29 pt100 input 2 | UA | 24CHall | AC | PT100 | FC61426 | Temperature |  | Mon | UA-24CHall:AC-PT100-FC61426:Temperature-Mon |  | TEAMB02_ST_614_11_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_11_2.val | .1 | 2
3 | FC-614-26/27/28/29 pt100 input 3 | UA | 25CHall | AC | PT100 | FC61426 | Temperature |  | Mon | UA-25CHall:AC-PT100-FC61426:Temperature-Mon |  | TEAMB03_ST_614_11_3.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_11_3.val | .1 | 2
4 | FC-614-26/27/28/29 pt100 input 4 | UA | 26CHall | AC | PT100 | FC61426 | Temperature |  | Mon | UA-26CHall:AC-PT100-FC61426:Temperature-Mon |  | TEAMB04_ST_614_11_4.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_11_4.val | .1 | 2
5 | FC-614-26/27/28/29 pt100 input 5 | UA | 19EHall | AC | PT100 | FC61426 | Temperature | 1 | Mon | UA-19EHall:AC-PT100-FC61426:Temperature-1-Mon |  | TEAMB05_ST_614_11_5.val | AS-BUILT (NO FC) BMS 25° | Analog | Input |  |  | C | TEAMB05_ST_614_11_5.val | .1 | 2
6 | FC-614-26/27/28/29 pt100 input 6 | UA | 19EHall | AC | PT100 | FC61426 | Temperature | 2 | Mon | UA-19EHall:AC-PT100-FC61426:Temperature-2-Mon |  | TEAMB06_ST_614_11_6.val | AS-BUILT (NO FC) BMS 25° | Analog | Input |  |  | C | TEAMB06_ST_614_11_6.val | .1 | 2
7 | FC-614-26/27/28/29 pt100 input 7 | UA | 22DHall | AC | PT100 | FC61426 | Temperature |  | Mon | UA-22DHall:AC-PT100-FC61426:Temperature-Mon |  | TEAMB07_ST_614_11_7.val | AS-BUILT (NO FC) BMS 25° | Analog | Input |  |  | C | TEAMB07_ST_614_11_7.val | .1 | 2
8 | FC-614-26/27/28/29 pt100 input 8 | UA | 25DHall | AC | PT100 | FC61426 | Temperature |  | Mon | UA-25DHall:AC-PT100-FC61426:Temperature-Mon |  | TEAMB08_ST_614_11_8.val | Inibido - mau contato | Analog | Input |  |  | C | TEAMB08_ST_614_11_8.val | .1 | 2
9 | FC-614-26/27/28/29 média | UA | 22Hall28 | AC | PT100 | FC61426 | MeanTemperature |  | Mon | UA-22Hall28:AC-PT100-FC61426:MeanTemperature-Mon |  | TIC1_614_11_1.PV |  | Analog | Input |  |  | C | TIC1_614_11_1.PV | .1 | 2
10 | FC-614-32/33/34/35 pt100 input 1 | UA | 32CHall | AC | PT100 | FC61432 | Temperature |  | Mon | UA-32CHall:AC-PT100-FC61432:Temperature-Mon |  | TEAMB01_ST_614_13_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_13_1.val | .1 | 2
11 | FC-614-32/33/34/35 pt100 input 2 | UA | 31CHall | AC | PT100 | FC61432 | Temperature |  | Mon | UA-31CHall:AC-PT100-FC61432:Temperature-Mon |  | TEAMB02_ST_614_13_2.val | Inibido - mau contato | Analog | Input |  |  | C | TEAMB02_ST_614_13_2.val | .1 | 2
12 | FC-614-32/33/34/35 pt100 input 3 | UA | 29CHall | AC | PT100 | FC61432 | Temperature |  | Mon | UA-29CHall:AC-PT100-FC61432:Temperature-Mon |  | TEAMB03_ST_614_13_3.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_13_3.val | .1 | 2
13 | FC-614-32/33/34/35 pt100 input 4 | UA | 28CHall | AC | PT100 | FC61432 | Temperature |  | Mon | UA-28CHall:AC-PT100-FC61432:Temperature-Mon |  | TEAMB04_ST_614_13_4.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_13_4.val | .1 | 2
14 | FC-614-32/33/34/35 pt100 input 5 | UA | 26EHall | AC | PT100 | FC61432 | Temperature | 1 | Mon | UA-26EHall:AC-PT100-FC61432:Temperature-1-Mon |  | TEAMB05_ST_614_13_5.val | Corrigir localização | Analog | Input |  |  | C | TEAMB05_ST_614_13_5.val | .1 | 2
15 | FC-614-32/33/34/35 pt100 input 6 | UA | 26EHall | AC | PT100 | FC61432 | Temperature | 2 | Mon | UA-26EHall:AC-PT100-FC61432:Temperature-2-Mon |  | TEAMB06_ST_614_13_6.val | Corrigir localização | Analog | Input |  |  | C | TEAMB06_ST_614_13_6.val | .1 | 2
16 | FC-614-32/33/34/35 pt100 input 7 | UA | 28DHall | AC | PT100 | FC61432 | Temperature |  | Mon | UA-28DHall:AC-PT100-FC61432:Temperature-Mon |  | TEAMB07_ST_614_13_7.val | Inibido - mau contato | Analog | Input |  |  | C | TEAMB07_ST_614_13_7.val | .1 | 2
17 | FC-614-32/33/34/35 pt100 input 8 | UA | 31DHall | AC | PT100 | FC61432 | Temperature |  | Mon | UA-31DHall:AC-PT100-FC61432:Temperature-Mon |  | TEAMB08_ST_614_13_8.val | Inibido - mau contato | Analog | Input |  |  | C | TEAMB08_ST_614_13_8.val | .1 | 2
18 | FC-614-32/33/34/35 média | UA | 28Hall34 | AC | PT100 | FC61432 | MeanTemperature |  | Mon | UA-28Hall34:AC-PT100-FC61432:MeanTemperature-Mon |  | TIC1_614_13_1.PV |  | Analog | Input |  |  | C | TIC1_614_13_1.PV | .1 | 2
19 | FC-614-37/38/39/40 pt100 input 1 | UA | 33CHall | AC | PT100 | FC61437 | Temperature |  | Mon | UA-33CHall:AC-PT100-FC61437:Temperature-Mon |  | TEAMB01_ST_614_15_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_15_1.val | .1 | 2
20 | FC-614-37/38/39/40 pt100 input 2 | UA | 35CHall | AC | PT100 | FC61437 | Temperature |  | Mon | UA-35CHall:AC-PT100-FC61437:Temperature-Mon |  | TEAMB02_ST_614_15_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_15_2.val | .1 | 2
21 | FC-614-37/38/39/40 pt100 input 3 | UA | 37CHall | AC | PT100 | FC61437 | Temperature |  | Mon | UA-37CHall:AC-PT100-FC61437:Temperature-Mon |  | TEAMB03_ST_614_15_3.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_15_3.val | .1 | 2
22 | FC-614-37/38/39/40 pt100 input 4 | UA | 38CHall | AC | PT100 | FC61437 | Temperature |  | Mon | UA-38CHall:AC-PT100-FC61437:Temperature-Mon |  | TEAMB04_ST_614_15_4.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_15_4.val | .1 | 2
23 | FC-614-37/38/39/40 pt100 input 5 | UA | 36EHall | AC | PT100 | FC61437 | Temperature | 1 | Mon | UA-36EHall:AC-PT100-FC61437:Temperature-1-Mon |  | TEAMB05_ST_614_15_5.val | Corrigir localização | Analog | Input |  |  | C | TEAMB05_ST_614_15_5.val | .1 | 2
24 | FC-614-37/38/39/40 pt100 input 6 | UA | 36EHall | AC | PT100 | FC61437 | Temperature | 2 | Mon | UA-36EHall:AC-PT100-FC61437:Temperature-2-Mon |  | TEAMB06_ST_614_15_6.val | Inibido - mau contato & corrigir localização | Analog | Input |  |  | C | TEAMB06_ST_614_15_6.val | .1 | 2
25 | FC-614-37/38/39/40 pt100 input 7 | UA | 34DHall | AC | PT100 | FC61437 | Temperature |  | Mon | UA-34DHall:AC-PT100-FC61437:Temperature-Mon |  | TEAMB07_ST_614_15_7.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_15_7.val | .1 | 2
26 | FC-614-37/38/39/40 pt100 input 8 | UA | 37DHall | AC | PT100 | FC61437 | Temperature |  | Mon | UA-37DHall:AC-PT100-FC61437:Temperature-Mon |  | TEAMB08_ST_614_15_8.val | Inibido - mau contato | Analog | Input |  |  | C | TEAMB08_ST_614_15_8.val | .1 | 2
27 | FC-614-37/38/39/40 média | UA | 34Hall40 | AC | PT100 | FC61437 | MeanTemperature |  | Mon | UA-34Hall40:AC-PT100-FC61437:MeanTemperature-Mon |  | TIC1_614_15_1.PV |  | Analog | Input |  |  | C | TIC1_614_15_1.PV | .1 | 2
17 | ST-614-12.01 | TU | 21IW | AC | PT100 |  | Temperature |  | Mon | TU-21IW:AC-PT100:Temperature-Mon | TEAMB01 | TEAMB01_ST_614_12_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_12_1.val | .1 | 2
18 | ST-614-12.02 | TU | 22EW | AC | PT100 |  | Temperature |  | Mon | TU-22EW:AC-PT100:Temperature-Mon | TEAMB02 | TEAMB02_ST_614_12_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_12_2.val | .1 | 2
19 | ST-614-12.04 | TU | 23IW | AC | PT100 |  | Temperature |  | Mon | TU-23IW:AC-PT100:Temperature-Mon | TEAMB03 | TEAMB03_ST_614_12_4.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_12_4.val | .1 | 2
20 | ST-614-12.05 | TU | 23EW | AC | PT100 |  | Temperature |  | Mon | TU-23EW:AC-PT100:Temperature-Mon | TEAMB04 | TEAMB04_ST_614_12_5.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_12_5.val | .1 | 2
21 | ST-614-12.07 | TU | 24IW | AC | PT100 |  | Temperature |  | Mon | TU-24IW:AC-PT100:Temperature-Mon | TEAMB05 | TEAMB05_ST_614_12_7.val |  | Analog | Input |  |  | C | TEAMB05_ST_614_12_7.val | .1 | 2
22 | ST-614-12.08 | TU | 25EW | AC | PT100 |  | Temperature |  | Mon | TU-25EW:AC-PT100:Temperature-Mon | TEAMB06 | TEAMB06_ST_614_12_8.val |  | Analog | Input |  |  | C | TEAMB06_ST_614_12_8.val | .1 | 2
23 | ST-614-12.09 | TU | 26IW | AC | PT100 |  | Temperature |  | Mon | TU-26IW:AC-PT100:Temperature-Mon | TEAMB07 | TEAMB07_ST_614_12_9.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_12_9.val | .1 | 2
24 | ST-614-12.10 | TU | 26EW | AC | PT100 |  | Temperature |  | Mon | TU-26EW:AC-PT100:Temperature-Mon | TEAMB08 | TEAMB08_ST_614_12_10.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_12_10.val | .1 | 2
| ST-614-12 média | TU | 2126 | AC | PT100 |  | MeanTemperature |  | Mon | TU-2126:AC-PT100:MeanTemperature-Mon |  | MEDIA_TEAMB_ST_614_12.val |  | Analog | Input |  |  | C | MEDIA_TEAMB_ST_614_12.val | .1 | 2
25 | ST-614-14.01 | TU | 27IW | AC | PT100 |  | Temperature |  | Mon | TU-27IW:AC-PT100:Temperature-Mon | TEAMB01 | TEAMB01_ST_614_14_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_14_1.val | .1 | 2
26 | ST-614-14.02 | TU | 28EW | AC | PT100 |  | Temperature |  | Mon | TU-28EW:AC-PT100:Temperature-Mon | TEAMB02 | TEAMB02_ST_614_14_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_14_2.val | .1 | 2
27 | ST-614-14.04 | TU | 29IW | AC | PT100 |  | Temperature |  | Mon | TU-29IW:AC-PT100:Temperature-Mon | TEAMB03 | TEAMB03_ST_614_14_4.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_14_4.val | .1 | 2
28 | ST-614-14.05 | TU | 29EW | AC | PT100 |  | Temperature |  | Mon | TU-29EW:AC-PT100:Temperature-Mon | TEAMB04 | TEAMB04_ST_614_14_5.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_14_5.val | .1 | 2
29 | ST-614-14.07 | TU | 30IW | AC | PT100 |  | Temperature |  | Mon | TU-30IW:AC-PT100:Temperature-Mon | TEAMB05 | TEAMB05_ST_614_14_7.val |  | Analog | Input |  |  | C | TEAMB05_ST_614_14_7.val | .1 | 2
30 | ST-614-14.08 | TU | 31EW | AC | PT100 |  | Temperature |  | Mon | TU-31EW:AC-PT100:Temperature-Mon | TEAMB06 | TEAMB06_ST_614_14_8.val |  | Analog | Input |  |  | C | TEAMB06_ST_614_14_8.val | .1 | 2
31 | ST-614-14.09 | TU | 32IW | AC | PT100 |  | Temperature |  | Mon | TU-32IW:AC-PT100:Temperature-Mon | TEAMB07 | TEAMB07_ST_614_14_9.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_14_9.val | .1 | 2
32 | ST-614-14.10 | TU | 32EW | AC | PT100 |  | Temperature |  | Mon | TU-32EW:AC-PT100:Temperature-Mon | TEAMB08 | TEAMB08_ST_614_14_10.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_14_10.val | .1 | 2
| ST-614-14 média | TU | 2732 | AC | PT100 |  | MeanTemperature |  | Mon | TU-2732:AC-PT100:MeanTemperature-Mon |  | MEDIA_TEAMB_ST_614_14.val |  | Analog | Input |  |  | C | MEDIA_TEAMB_ST_614_14.val | .1 | 2
33 | ST-614-16.01 | TU | 33IW | AC | PT100 |  | Temperature |  | Mon | TU-33IW:AC-PT100:Temperature-Mon | TEAMB01 | TEAMB01_ST_614_16_1.val |  | Analog | Input |  |  | C | TEAMB01_ST_614_16_1.val | .1 | 2
34 | ST-614-16.02 | TU | 34EW | AC | PT100 |  | Temperature |  | Mon | TU-34EW:AC-PT100:Temperature-Mon | TEAMB02 | TEAMB02_ST_614_16_2.val |  | Analog | Input |  |  | C | TEAMB02_ST_614_16_2.val | .1 | 2
35 | ST-614-16.04 | TU | 35IW | AC | PT100 |  | Temperature |  | Mon | TU-35IW:AC-PT100:Temperature-Mon | TEAMB03 | TEAMB03_ST_614_16_4.val |  | Analog | Input |  |  | C | TEAMB03_ST_614_16_4.val | .1 | 2
36 | ST-614-16.05 | TU | 35EW | AC | PT100 |  | Temperature |  | Mon | TU-35EW:AC-PT100:Temperature-Mon | TEAMB04 | TEAMB04_ST_614_16_5.val |  | Analog | Input |  |  | C | TEAMB04_ST_614_16_5.val | .1 | 2
37 | ST-614-16.07 | TU | 36IW | AC | PT100 |  | Temperature |  | Mon | TU-36IW:AC-PT100:Temperature-Mon | TEAMB05 | TEAMB05_ST_614_16_7.val |  | Analog | Input |  |  | C | TEAMB05_ST_614_16_7.val | .1 | 2
38 | ST-614-16.08 | TU | 37EW | AC | PT100 |  | Temperature |  | Mon | TU-37EW:AC-PT100:Temperature-Mon | TEAMB06 | TEAMB06_ST_614_16_8.val |  | Analog | Input |  |  | C | TEAMB06_ST_614_16_8.val | .1 | 2
39 | ST-614-16.09 | TU | 38IW | AC | PT100 |  | Temperature |  | Mon | TU-38IW:AC-PT100:Temperature-Mon | TEAMB07 | TEAMB07_ST_614_16_9.val |  | Analog | Input |  |  | C | TEAMB07_ST_614_16_9.val | .1 | 2
40 | ST-614-16.10 | TU | 38EW | AC | PT100 |  | Temperature |  | Mon | TU-38EW:AC-PT100:Temperature-Mon | TEAMB08 | TEAMB08_ST_614_16_10.val |  | Analog | Input |  |  | C | TEAMB08_ST_614_16_10.val | .1 | 2
| ST-614-16 média | TU | 3338 | AC | PT100 |  | MeanTemperature |  | Mon | TU-3338:AC-PT100:MeanTemperature-Mon |  | MEDIA_TEAMB_ST_614_16.val |  | Analog | Input |  |  | C | MEDIA_TEAMB_ST_614_16.val | .1 | 2

## Tunel-infos
Sensor | Posição | Painel | Eixo | Raio | Setor | Eixo |  | Setor
ST-614-08.01 | 1 | 8 | 9 | BO | 18 | inicio | fim
ST-614-08.02 | 2 | 8 | 10 | SR | 19 | 16 | 18 | 1
ST-614-08.04 | 4 | 8 | 11 | BO | 19 | 19 | 21 | 2
ST-614-08.05 | 5 | 8 | 11 | SR | 19 | 22 | 24 | 3
ST-614-08.07 | 7 | 8 | 12 | BO | 19 | 25 | 27 | 4
ST-614-08.08 | 8 | 8 | 13 | SR | 20 | 28 | 30 | 5
ST-614-08.09 | 9 | 8 | 14 | BO | 20 | 31 | 33 | 6
ST-614-08.10 | 10 | 8 | 14 | SR | 20 | 34 | 36 | 7
[6 empty] | 37 | 39 | 8
ST-614-10.01 | 1 | 10 | 15 | BO | 20 | 40 | 42 | 9
ST-614-10.02 | 2 | 10 | 16 | SR | 1 | 43 | 45 | 10
ST-614-10.04 | 4 | 10 | 17 | BO | 1 | 46 | 48 | 11
ST-614-10.05 | 5 | 10 | 17 | SR | 1 | 49 | 51 | 12
ST-614-10.07 | 7 | 10 | 18 | BO | 1 | 52 | 54 | 13
ST-614-10.08 | 8 | 10 | 19 | SR | 2 | 55 | 57 | 14
ST-614-10.09 | 9 | 10 | 20 | BO | 2 | 58 | 60 | 15
ST-614-10.10 | 10 | 10 | 20 | SR | 2 | 1 | 3 | 16
[6 empty] | 4 | 6 | 17
ST-614-12.01 | 1 | 12 | 21 | BO | 2 | 7 | 9 | 18
ST-614-12.02 | 2 | 12 | 22 | SR | 3 | 10 | 12 | 19
ST-614-12.04 | 4 | 12 | 23 | BO | 3 | 13 | 15 | 20
ST-614-12.05 | 5 | 12 | 23 | SR | 3
ST-614-12.07 | 7 | 12 | 24 | BO | 3
ST-614-12.08 | 8 | 12 | 25 | SR | 4
ST-614-12.09 | 9 | 12 | 26 | BO | 4
ST-614-12.10 | 10 | 12 | 26 | SR | 4
ST-614-14.01 | 1 | 14 | 27 | BO | 4
ST-614-14.02 | 2 | 14 | 28 | SR | 5
ST-614-14.04 | 4 | 14 | 29 | BO | 5
ST-614-14.05 | 5 | 14 | 29 | SR | 5
ST-614-14.07 | 7 | 14 | 30 | BO | 5
ST-614-14.08 | 8 | 14 | 31 | SR | 6
ST-614-14.09 | 9 | 14 | 32 | BO | 6
ST-614-14.10 | 10 | 14 | 32 | SR | 6
ST-614-16.01 | 1 | 16 | 33 | BO | 6
ST-614-16.02 | 2 | 16 | 34 | SR | 7
ST-614-16.04 | 4 | 16 | 35 | BO | 7
ST-614-16.05 | 5 | 16 | 35 | SR | 7
ST-614-16.07 | 7 | 16 | 36 | BO | 7
ST-614-16.08 | 8 | 16 | 37 | SR | 8
ST-614-16.09 | 9 | 16 | 38 | BO | 8
ST-614-16.10 | 10 | 16 | 38 | SR | 8
ST-614-17.01 | 1 | 17 | 39 | BO | 8
ST-614-17.02 | 2 | 17 | 40 | SR | 9
ST-614-17.04 | 4 | 17 | 41 | BO | 9
ST-614-17.05 | 5 | 17 | 41 | SR | 9
ST-614-17.07 | 7 | 17 | 42 | BO | 9
ST-614-17.08 | 8 | 17 | 43 | SR | 10
ST-614-17.09 | 9 | 17 | 44 | BO | 10
ST-614-17.10 | 10 | 17 | 44 | SR | 10
ST-614-19.01 | 1 | 19 | 45 | BO | 10
ST-614-19.02 | 2 | 19 | 46 | SR | 11
ST-614-19.04 | 4 | 19 | 47 | BO | 11
ST-614-19.05 | 5 | 19 | 47 | SR | 11
ST-614-19.07 | 7 | 19 | 48 | BO | 11
ST-614-19.08 | 8 | 19 | 49 | SR | 12
ST-614-19.09 | 9 | 19 | 50 | BO | 12
ST-614-19.10 | 10 | 19 | 50 | SR | 12
ST-614-02.01 | 1 | 2 | 51 | BO | 12
ST-614-02.02 | 2 | 2 | 52 | SR | 13
ST-614-02.04 | 4 | 2 | 53 | BO | 13
ST-614-02.05 | 5 | 2 | 53 | SR | 13
ST-614-02.07 | 7 | 2 | 54 | BO | 13
ST-614-02.08 | 8 | 2 | 55 | SR | 14
ST-614-02.09 | 9 | 2 | 56 | BO | 14
ST-614-02.10 | 10 | 2 | 56 | SR | 14
ST-614-04.01 | 1 | 4 | 57 | BO | 14
ST-614-04.02 | 2 | 4 | 58 | SR | 15
ST-614-04.04 | 4 | 4 | 59 | BO | 15
ST-614-04.05 | 5 | 4 | 59 | SR | 15
ST-614-04.07 | 7 | 4 | 60 | BO | 15
ST-614-04.08 | 8 | 4 | 1 | SR | 16
ST-614-04.09 | 9 | 4 | 2 | BO | 16
ST-614-04.10 | 10 | 4 | 2 | SR | 16
ST-614-06.01 | 1 | 6 | 3 | BO | 16
ST-614-06.02 | 2 | 6 | 4 | SR | 17
ST-614-06.04 | 4 | 6 | 5 | BO | 17
ST-614-06.05 | 5 | 6 | 5 | SR | 17
ST-614-06.07 | 7 | 6 | 6 | BO | 17
ST-614-06.08 | 8 | 6 | 7 | SR | 18
ST-614-06.09 | 9 | 6 | 8 | BO | 18
ST-614-06.10 | 10 | 6 | 8 | SR | 18